FORMULARZ OFERTY

| Nazwa Oferenta |  |
| --- | --- |
| Siedziba Oferenta |  |
| Adres do korespondencji |  |
| Numer telefonu/ fax |  |
| Adres e-mail |  |
| NIP |  |
| Regon |  |

Cena łączna za wykonanie przedmiotu zamówienia. Proszę podać kwotę w EUR, do dwóch miejsc po przecinku:

- Łączna cena netto (bez VAT):		…………………………………

- Stawka VAT:				…………………………………

| L.p. | Opis | Uwagi | Cena netto (bez VAT) [EUR] |  |
| --- | --- | --- | --- | --- |
| 1 | Cena Ładowarki wg specyfikacji w Załączniku nr 1, przy założeniach realizacji zgodnie z opisem w zapytaniu ofertowym. Cena ładowarki obejmuje wliczoną gwarancję na okres 5 lat, gwarancyjny serwis w tym okresie oraz z wliczony transport do magazynu GW w Gdyni lub w Gdańsku. | 5 letnia gwarancja, z dostawą do magazynu GreenWay | 1 szt. |  |

Nawiązując do Zapytania ofertowego „ŁADOWARKA SZYBKIEGO ŁADOWANIA PRĄDEM STAŁYM O MOCY 99 kW”.

Specyfikacja przedmiotu zamówienia

| Nazwa Producenta oferowanej Ładowarki |  |
| --- | --- |
| Nazwa modelu oferowanej Ładowarki |  |
| Nazwa Producenta modułów mocy zastosowanych w oferowanej Ładowarce |  |
| Kraj produkcji oferowanej Ładowarki |  |
| Kraj produkcji modułów mocy |  |

| L.p. | Rodzaj wymagania | Wymaganie | Opis wymagania | Tak / Nie |
| --- | --- | --- | --- | --- |
| 1 | Czas dostawy | Deklaracja czasu dostawy dla pierwszych 20 ładowarek | Pierwsze 20 ładowarek zostanie dostarczonych w ciągu 8 tygodni od złożenia zamówienia zakupu |  |
|  |  |  | Pierwsze 20 ładowarek zostanie dostarczonych w ciągu 8 - 12 tygodni od złożenia zamówienia zakupu |  |
| 2 | Zabezpieczenie różnicowo prądowe | Dodatkowe zabezpieczenie różnicowo prądowe na zasilaniu stacji | Oferowana Ładowarka, aby spełnić wymogi § 5 pkt 2 Rozporządzenia Ministra Energii z 26 czerwca 2019 r. (Dz.U. 2019 poz. 1316) nie wymaga montażu dodatkowego wyłącznika różnicowoprądowego. |  |
| 3 | Moc Bierna | Kompensacja mocy biernej wraz z interfejsem do zarządzania | Oferowana Ładowarka jest wyposażona w kompensację mocy biernej i umożliwi Zamawiającemu sterowanie poprzez interfejs zarówno mocą bierną pojemnościową jak i indukcyjną. |  |
| 4 | Instalacja Alarmowa | Instalację alarmowa, która aktywuje alarm podczas próby kradzieży każdego z kabli CCS | Oferowana Ładowarka wyposażona jest w instalację alarmową, która aktywuje alarm podczas próby kradzieży kabli CCS |  |

……………………………………

(miejscowość i data)

………………………………………………………………………………………..

(czytelny podpis Oferenta lub osoby upoważnionej do reprezentacji)

PRICE OFFER

| Supplier name |  |
| --- | --- |
| Location |  |
| Address |  |
| Phone number |  |
| E-mail address |  |
| ID in trade registry |  |

The total price for the execution of the subject of the order. Please enter the amount in EUR with two decimal places accuracy:

- Total net price (without VAT):		…………………………………

- VAT rate:				…………………………………

| No. | Description | Remarks | Net price (without VAT) [EUR] |  |
| --- | --- | --- | --- | --- |
| 1 | Unit price of charger specified in Annex 1 for defined in tender quantity to be delivered within the contract and with 5 years guarantee, 5 years warranty services and shipment to Gdynia included | 5 years warranty, with shipment to GreenWay included | 1 pc |  |

Referring to the Inquiry „99kW FAST DC CHARGERS”.

Technical specification

| Manufacturer name of the offered charger |  |
| --- | --- |
| Model name of the offered charger |  |
| Manufacturer name of the power modules used in the offered charger |  |
| Manufacturing country of the offered charger |  |
| Manufacturing country of the power modules |  |

| No. | Type of requirement | Requirement | Description of the requirement | Yes / No |
| --- | --- | --- | --- | --- |
| 1 | Delivery Time | Delivery time declaration for first batch of chargers | Delivery within 8 weeks from purchase order |  |
|  |  |  | Delivery within 8–12 weeks from purchase order |  |
| 2 | Residual Current Protection | Additional residual current protection on the charging station supply. | The offered charger, in order to comply with § 5 point 2 of the Regulation of the Minister of Energy of 26 June 2019, does not require the installation of an additional residual current device (RCD). |  |
| 3 | Reactive Power | Reactive power compensation along with a management interface. | The charger is equipped with reactive power compensation and enables the Contracting Authority to control both capacitive and inductive reactive power via the interface. |  |
| 4 | Alarm System | An alarm system that activates in the event of an attempted theft of any CCS cable. | The offered charger is equipped with an alarm system that activates in the event of an attempted theft of the CCS cables. |  |

……………………………………

(city and date)

………………………………………………………………………………………..

(legible signature of the Supplier or a person authorized to represent)

dla oferty składanej w j. polskim

for English version of the offer